## Slide 1: Results and plans from LHCf
Hiroaki MENJO
(KMI, Nagoya University, Japan)
On behalf of the LHCf collaboration
Mini-workshop ”UHECR and hadron interaction in the LHC era” @ ICRR, 12 Oct. 2011

## Slide 2: Contents
Introduction
The LHCf experiment -An LHC forward experiment-
Forward photon energy spectrum at √s = 7eV p-p collisions
Future plans
Summary
LHC
SppS
Tevatron
Large Hadron Collider
-The most powerful accelerator on the earth-
Ultra High Energy Cosmic Rays What is the most powerful accelerator
in the Universe ?
-

## Slide 3: The LHCf collaboration
The LHCf collaboration
K.Fukatsu, T.Iso, Y.Itow, K.Kawade, T.Mase, K.Masuda, Y.Matsubara, G.Mitsuka, Y.Muraki, T.Sako, K.Suzuki, K.Taki Solar-Terrestrial Environment Laboratory, Nagoya Univ.
H.Menjo Kobayashi-Maskawa Institute, Nagoya Univ.
K.Yoshida Shibaura Institute of Technology
K.Kasahara, T.Suzuki, S.Torii Waseda Univ. Y.Shimizu JAXA T.Tamura Kanagawa University
M.Haguenauer Ecole Polytechnique, France
W.C.Turner LBNL, Berkeley, USA
O.Adriani, L.Bonechi, M.Bongi, R.D’Alessandro, M.Grandi,
P.Papini, S.Ricciarini, G.Castellini
INFN, Univ. di Firenze, Italy
K.Noda, A.Tricomi INFN, Univ. di Catania, Italy
J.Velasco, A.Faus IFIC, Centro Mixto CSIC-UVEG, Spain
A-L.Perrot CERN, Switzerland

## Slide 4: Introduction
PROTON
IRON
Xmax distribution measured by AUGER
Extensive air shower observation
longitudinal distribution
lateral distribution
Arrival direction
Astrophysical parameters
Spectrum
Composition
Source distribution
Air shower development
HECRs
Auger Coll. ICRC2011
1019
1018
Xmax
the depth of air shower maximum. An indicator of CR composition
Uncertainty of hadron interaction models
Error of <Xmax> measurement
>

## Slide 5: Air Shower
90% of shower particles are electromagnetic components.
Feature of First interaction between CR and air is effective to whole air shower shape.
Key parameters for air shower development
Total cross section Multiplicity Inelasticity/Secondary spectra

## Slide 6: Key parameters
Total cross section Multiplicity Inelasticity/Secondary spectra
Predictions by hadron interaction models which are used in air shower simulation
Big discrepancy in the high energy region !!!

## Slide 7: The Large Hadron Collider (LHC)
pp 7TeV+7TeV  Elab = 1017eV
pp 3.5TeV+3.5TeV  Elab = 2.6x1016eV
pp 450GeV+450GeV  Elab = 2x1014eV
2014-
ATLAS/LHCf
LHCb
CMS/TOTEM
ALICE
Key parameters
for air shower developments
Total cross section ↔ TOTEM, ATLAS, CMS
Multiplicity ↔ Central detectors
Inelasticity/Secondary spectra ↔ Forward calorimeters LHCf, ZDCs
Notes: So the calibration of the hadron interaction models at high energy is indispensable.
The dominant contribution to the energy flux is very forward region. So knowledge of the energy distribution of particles emitted in the very forward region in hadron interaction is very important. However so far only UA7 experiment has obtained data in the energy range exceeding 10 to14th eV.
Now the largest and highest energy accelerator “LHC” is under construction at CERN.
At the LHC interaction point, 7TeV-7TeV proton will collide. It correspond to 10to17th eV in the laboratory system.
It is 3 orders more than that of the UA7 experiment and near the range of ultra high energy cosmic rays

## Slide 8: The LHCf experiment
ATLAS
96mm
TAN -Neutral Particle Absorber-
transition from one common beam pipe to two pipes
Slot : 100mm(w) x 607mm(H) x 1000mm(T)
140m
LHCf Detector(Arm#1)
Two independent detectors at either side of IP1 ( Arm#1, Arm#2 )
Charged particles (+)
Beam pipe
Protons
Charged particles (-)
Neutral particles

## Slide 9: The LHCf Detectors
40mm
20mm
25mm
32mm
Expected Performance
Energy resolution (> 100GeV)
< 5% for photons
30% for neutrons
Position resolution < 200μm (Arm#1)
40μm (Arm#2)
Sampling and Positioning Calorimeters
W (44 r.l , 1.7λI ) and Scintillator x 16 Layers
4 positioning layers XY-SciFi(Arm1) and XY-Silicon strip(Arm#2)
Each detector has two calorimeter towers, which allow to reconstruct p0
Front Counter
thin scintillators with 80x80mm2
To monitor beam condition.
For background rejection of beam-residual gas collisions by coincidence analysis
Arm2
Arm1
Notes: The Arm#1 and Arm#2 , each detector has two sampling and imaging calorimeters.
The each calorimeter are made of 44 r.l. tungsten layer and 16 scintillator layers and 4 position sensitive layers.
The position sensitive layers of Arm#1 are made of XY pair of scintillating fiber bundles.
The position sensitive layers of Arm#2 are made of XY silicon strip detectors.
Two independent calorimeters allow to reconstruct neutral pion from pair photons.
The energy resolution is less than 5% for photons with more than 100GeV and about 30 % for neutrons.
The position resolution of Scintillating fibers in Arm1 is less than 200 um.
And position resolution of silicon detectors in Arm2 is about 40um.

## Slide 10: Photos
90mm
280mm
620mm
ATLAS
neutral beam axis
η
∞
8.7
Shadow of beam pipes
between IP and TAN
Pseudo-rapidity range.
η > 8.7 @ zero crossing angle
η > 8.4 @ 140urad

## Slide 11: LHCf can measure
η
∞
8.5
Energy spectra and Transverse momentum distbution of
Multiplicity@14TeV
Energy Flux @14TeV
Low multiplicity !!
High energy flux !!
simulated by DPMJET3
Gamma-rays (E>100GeV,dE/E<5%)
Neutral Hadrons (E>a few 100 GeV, dE/E~30%)
π0 (E>600GeV, dE/E<3%)
at pseudo-rapidity range >8.4
Front view of calorimeters @ 100μrad crossing angle
beam pipe shadow
Notes: Next, I present what we can measure.
We can measure energy spectra and transverse momentum distribution of gamma-ray with more than 100GeV
and neutral hadrons it’s mainly neutrons with more than a few hundreds GeV, and neutral pions with more than 700GeV
at rapidity range from 8.4 to infinity.
because we don’t have own central detectors and LHCf trigger is completely independent on ATLAS trigger,
so LHCf can measure only inclusive spectra . However we are recording ATLAS event ID number event by event,
so it is possible to identify coincidence events with ATLAS event and to analyze with ATALS in future.

## Slide 12: Operation in 2009-2010
At 450GeV+450GeV
06 Dec. –15 Dec. in 2009
27.7 hours for physics, 2.6 hours for commissioning
~2,800 and ~3,700 shower events in Arm1 and Arm2
02 May – 27 May in 2010
~15 hours for physics
~44,000 and ~63,000 shower events in Arm1 and Arm2
At 3.5TeV+3.5TeV
30 Mar. – 19 July in 2010
~ 150 hours for physics with several setup With zero crossing angle and with 100μrad crossing angle.
~2x108 and ~2x108 shower events in Arm1 and Arm2
Operation at √s = 900GeV and 7TeV has been completed successfully. The detectors has been removed from the LHC tunnels at July 2010, and will be upgraded for the future operations.

## Slide 13: Forward photon spectrum at √s = 7TeV p-p collisions
“ Measurement of zero degree single photon energy spectra for √s = 7 TeV proton-proton collisions at LHC “
O. Adriani, et al., PLB, Vol.703-2, p.128-134 (09/2011)

## Slide 14: Analysis for the photon spectra
DATA
  15 May 2010 17:45-21:23, at Low Luminosity 6x1028cm-2s-1
  0.68 nb-1 for Arm1, 0.53nb-1 for Arm2
MC
  DPMJET3.0４, QGSJETII03, SYBILL2.1, EPOS1.99 PYTHIA 8.145 with the default parameters.
  107 inelastic p-p collisions by each model.
Analysis Procedure
  Energy Reconstruction from total energy deposition in a tower with some corrections, shower leakage out etc.
  Particle Identification by shape of longitudinal shower development.
  Cut multi-particle events.
  Two Pseudo-rapidity selections, η>10.94 and 8.81<η<8.9.
  Combine spectra between the two detectors.

## Slide 15: Event sample
Longitudinal development measured by scintillator layers
Lateral distribution measured by silicon detectors
X-view
Y-view
25mm Tower
32mm Tower
600GeV photon
420GeV photon
Hit position,
Multi-hit search.
Total Energy deposit
Energy
Shape
PID
π0 mass reconstruction from two photon.
Systematic studies

## Slide 16: Particle Identification
Event selection and correction
  Select events <L90% threshold and multiply P/ε
  ε (photon detection efficiency) and P (photon purity)
  By normalizing MC template L90% to data, ε and P for certain L90% threshold are determined.
dE
Integral of dE
Photon
Hadron
Calorimeter layers
Calorimeter layers
Elemag: 44r.l.
Hadronic: 1.7λ
Calorimeter Depth
L90% Distribution

## Slide 17: Multi-hit identification
Double hit detection efficiency
Event cut of multi-peak events,
  Identify multi-peaks in one tower by position sensitive layers.
  Select only the single peak events for spectra.
Arm1
Arm2
Small tower
Large tower
Single hit detection efficiency
An example of multi peak event

## Slide 18: Comparison between the two detector
Pseudo-rapidity selection, η>10.94 and 8.81<η<8.9
Normalized by number of inelastic collisions with assumption as inelastic cross section of 71.5mb ( <->73.5±0.6stat. sys. mb by TOTEM )
Spectra in the two detectors are consistent within errors.
 Combined between spectra of Arm1 and Arm2 by weighted average according to errors
Arm1 detector
Arm2 detector
+1.8
-1.3

## Slide 19: Comparison between MC’s
DPMJET 3.04 QGSJETII-03 SIBYLL 2.1 EPOS 1.99 PYTHIA 8.145
Blue hatch: Statistics errors of MC
Gray hatch : Systematic Errors

## Slide 20: Comparison between MC’s
DPMJET 3.04 QGSJETII-03 SIBYLL 2.1 EPOS 1.99 PYTHIA 8.145
Blue hatch: Statistics errors of MC
Gray hatch : Systematic Errors
No model are not able to reproduce the LHCf results perfectly

## Slide 21: Next Plans
Ongoing analysis
  Energy spectrum of photons in the wider pseudo-rapidity range.
  PT distribution
  Hadron spectra
  π0 spectra
  Photon and Hadron energy spectra at 900GeV.
Future operations
  p-p collisions at the LHC designed energy, √s = 14TeV in 2014.
  Planning operations in 2012 and 2013.
    p-Pb collisions at LHC
    Operations at RHIC

## Slide 22: Pseudo-Rapidity coverage
In the paper, we selected the limited pseudo-rapidity ranges.
  η>10.94 and 8.81<η<8.9
The coverage will be improved to the full acceptance of the detector.
  η>8.7 @ zero beam crossing angle.
  η>8.5 @ 100urad beam crossing angle.
Selected area of analysis in the paper.

## Slide 23: PT acceptance for ϒ and n
PT acceptance at zero beam crossing angle
PT < 0.2GeV/c @450GeV
PT < 0.5GeV/c @1TeV
PT < 1.0GeV/c @2TeV
PT < 2.5GeV/c @5TeV
pp 7TeV, EPOS
I.P
PT=Eθ

## Slide 24: Neutron measurement
Huge model dependency of spectra in the forward region.
Energy resolution for hadrons ~ 30%.
Model predictions of 20mm cal. @ 14TeV p-p
w/o energy resolution
w/ 30% resolution

## Slide 25: Neutron measurement @ 7TeV p-p

## Slide 26: Pi0 measurement
I.P.1

1(E1)
2(E2)
140m
R
Geometrical acceptance at one detector position.
I.P.1
Type 1
Type 2
Two photon on one calorimeter.
Improve the efficiency for high energy pi0’s

## Slide 27: Pi0 analysis @ 7TeV pp is ongoing
Event /MeV
Arm1
Event /MeV
Reconstructed mass [MeV]
Reconstructed mass [MeV]
Arm2
Arm1
Arm2
Event /GeV
Event /GeV
Reconstructed energy [GeV]
Reconstructed energy [GeV]
preliminary
preliminary

## Slide 28: Other particles
η (γγ)
K0s (π0π04γ)
Λ (π0n)
Pi0 events
Eta Candidate
Data measured by Arm2 (all data at 7TeV p-p with zero crossing angle)
Eη>2TeV

## Slide 29: 900GeV p-p analysis
Beam energy of 450GeV
  No efficiency for pi0
  ~ energy @ beam test SPS
Preliminary results from Arm1 analysis
No correction of PID efficiency and purity
Normalized by number of entries
The detector response for hadrons is well known.

## Slide 30: Future Operations
p-p collisions at the LHC designed energy, √s = 14TeV in 2014.
Planning operations in 2012 and 2013.
  p-Pb collisions at LHC
    This is planed in Dec.2012 (final decision will be in Feb. 2012)
  Operations at RHIC
    We are contacting with RHIC people.
    p-p collisions at √s = 500GeV
    Ion collisions

## Slide 31: Summary
LHCf is one LHC experiment dedicated for cosmic ray physics. The aim is to calibrate the hadron interaction models which are used in air shower simulations.
LHCf measured photon forward energy spectra in the pseudo-rapidity ranges, η>10.94 and 8.81<η<8.9 at √s = 7TeV proton-proton collisions.
We compared the spectra with several interaction models
  None of the models perfectly agree with data
  Large discrepancy especially in the high energy with all models.
Analysis is ongoing. Results at √s = 7TeV p-p collisions, energy spectra of photon, hadron, PT distributions and etc., will be provided soon and many results from future operations, p-p at 14TeV, p-A also.

## Slide 32: Backup slides

## Slide 33: p0 reconstruction
Reconstructed mass @ Arm2
measured energy spectrum @ Arm2
preliminary
An example of p0 events
Pi0’s are a main source of electromagnetic secondaries in high energy collisions.
The mass peak is very useful to confirm the detector performances and to estimate the systematic error of energy scale.
25mm
32mm
Silicon strip-X view
I.P.1

1(E1)
2(E2)
140m
R

## Slide 34: Summary of systematic errors

## Slide 35: PT distribution for photons
pp 7TeV, EPOS

## Slide 36: Front Counter
Fixed scintillation counter
L=CxRFC ; conversion coefficient calibrated during VdM scans

## Slide 37: pi0