## Slide 1: Imaging the IGM/CGM/CQM
Sakura CLAW
Tokyo
26-30 March 2018
Christopher Martin
California Institute of Technology
For PCWI, KCWI, FIREBALL,ISTOS Team
Goals/Program/Techniques
FIREBALL-2
PCWI Proto-Galactic Disks
KCWI Overview
KCWI: PGDs  Multi-Filament Inflows
Keck Cosmic Reionization Mapper (KCRM)
XCWI

## Slide 2: 1. IGM Project: I. Goals Imaging & Mapping the Hidden Cosmic Web of Baryons
B. Discover/Map CGM Baryons,
Co-evolution with Galaxies
C. Discover & Map IGM Baryons,
Correlate with Cosmic Web & Galaxies
D. Cosmological Applications of
CGM/IGM Emission Mapping
Agertz+09
Decode Lyα Emission &
UV Line Diagnostics
Outflows
Inflows
Angular Momentum

## Slide 3: B. CGM Inflows: How does gas get into galaxies? Cold Filament Accretion  Large Angular Momentum  Giant Rotating Disks/Rings of Gas
Velocity Profile
Stewart+2013
Pichon+11; Ceverino+10, Danovich+12,14
Cold Gas Profile

## Slide 4: 1. IGM Project: II. Program Imaging & Mapping the Hidden Cosmic Web of Baryons
12
0.1
10
0.3
7
0.7
5.7
1
3
2
2
3
1.5
4
0.9
6
0.75
8
WHIM Grows, SF dies
Star Formation Epoch
SF Grows
Reionization
0.13
0.2
0.3
0.5
0.7
1.0
1.2
Time since Big Bang
Redshift
Wavelength (μm)
Cosmic Epoch
ISTOS
Explorer
1250-2800Å
0.05<zLyα<1.2
ISTOS...
FIREBALL
Balloon
2050-2250Å
0.7<zLyα<0.85
F
KCWI
Keck
3500-10,500Å
2.0<zLyα<7.2
KCWI-B
KCWI-R
Billion yrs

## Slide 5: 1. IGM Project: III. Methods Imaging & Mapping the Hidden Cosmic Web of Baryons
A. Imaging/Multiplexed
UV Emission Line Spectroscopy
B. Precision
Sky Subtraction
C. High Efficiency,
Low Noise, Photon-Counting
Detectors

## Slide 6: 2. FIREBALL-2
Science:
1st wide-field, multi-object UV imaging spectroscopy
1st emission constraints on z=0.7 LAE, CGM. CQM
Technology:
1st High Efficiency UV Photon-counting detector
Low red-leak demonstration of EMCCD
High-efficiency/low-scatter anamorphic UV grating
Wide-field imaging UV spectrometer
Precision 4-axis pointing system for balloon gondola
Training:
FB-1/FB-2: 9 GRAs, of which 5 are women
FB-2: 3 Post-doctoral scholars, all women
Science/Technology Pathfinder for for MIDEX, UV probes, LUVOIR
6

## Slide 7: FIREBALL-2 Faint Intergalactic Redshifted Emission Balloon Probing Galaxy and CGM Lyα Emission with Multi-Object Spectroscopy
Goals
Discover & map Circum-galactic medium to explore IGM-galaxy co-evolution
Pathfind UV integral field spectroscopy
Pathfind next generation high performance UV detectors
JPL
Shouleh Nikzad
April Jewell
Tim Goodsall
Todd Jones
John Hennessey
Alex Carver
Michael Hoenk
Sam Chang+
LAM/CNES
Bruno Milliard
Robert Grange
Samuel Quiret
Didier Vibert
Didier Ferrand
Marc Jacquet
Frederi Mirc+
Columbia
David Schiminovich
Lauren Corlies
Jose Zorilla
Julia Gross
Nicole Melso
Michele Limon
Sam Gordon
Hwei Ru Ong+
Caltech
Christopher Martin- PI
Erika Hamden
Nicole Lingner
Gillian Kyne
Patrick Morrissey
Matt Matuszewski
Donal O’Sullivan
Marty Crabill+

## Slide 8: FIREBALL-2: Galaxy/CGM Lyα Photometry Lyα Luminosity Function and Radial Profile separate Galaxy/Wind/CGM Emission

## Slide 9: Targeted at Galaxy Concentration at z~0.7
Multi Object Mask

## Slide 10: Laser Cut Multiobject Mask Carousel loaded

## Slide 11: Spectrograph/Detector/Cryosystem
Detector
Cryo-cooler
Cold strap
Robert G.
Gillian K.
Bruno M.
Getter
Focal
Corrector
MGS

## Slide 12: Science Detector Flight device 13 QE
Chart: Wavelength (nm)
| 650 | 600 | 550 | 520 | 510 | 500 | 490 | 480 | 470 | 460 | 450 | 440 | 430 | 420 | 410 | 400 | 390 | 380 | 370 | 360 | 350 | 340 | 330 | 320 | 310 | 300 | 290 | 280 | 270 | 260 | 253.7 | 238.5 | 229.6 | 221.4 | 210 | 200 | 190 | 182 | 170
JPL: 2015-01-21 | 0.75493 | 0.7893 | 0.79257 | 0.75517 | 0.7426 | 0.73375 | 0.67656 | 0.67994 | 0.71299 | 0.68957 | 0.68311 | 0.66058 | 0.62874 | 0.59424 | 0.5603 | 0.54207 | 0.49855 | 0.43967 | 0.38027 | 0.3743 | 0.36953 | 0.3621 | 0.38292 | 0.352 | 0.28129 | 0.2346 | 0.2015 | 0.1789 | 0.20591 | 0.19714 | 0.27266 | 0.38882 | 0.39552 | 0.46158 | 0.56636 | 0.46439 | 0.33515 | 0.22211 | 0.13144
Reprocess Batch #1
MBE 2014.12.15
Three layer AR coating
QE testing at JPL.

## Slide 13: System Performance Photon-counting image of calibration arc in Field 3 multi-slit mask
Before
After
Individual slitlet spectral extraction

## Slide 14: FIREBALL-2 Ready to Fly
UV optics measured efficiency 17%
High efficiency photon-counting detector (>50%)
Improved guidance algorithms validated in several sky tests
End-to-end test observing spectrum of artifical UV source while guiding 4-axis on artificial stars hanging on flight-chain simulator
Successful pre-flight integration campaign at Ft. Sumner
Successful compatibility test
FIREBALL-2 is READY FOR FLIGHT [Sept 2018]
SPIE 24 May 2006
IGM

## Slide 15
Caltech Press Release April 28 – Results from Palomar Cosmic Web Imager
Martin et al. 2014b
Intensity
Velocity
L(Blob)
L(Fil)
3. PCWI: Kinematically Linked Filaments (LAB2)

## Slide 16: 3. CGM Emission & Kinematics z~3 Lyman α blob
Cantalupo 06 Sim
4669Å
Emission
Spectral Image
Martin+2014b, PCWI IGM Paper I.
Gas inflowing
& increasing density & turbulence

## Slide 17: \
Martin+15
3. PCWI: Discovery of Lyα Proto-Galactic Disks (PGDs)

## Slide 18: Protogalactic Disk: Model

## Slide 19: 3. PCWI: Discovery of Lyα Proto-Galactic Disks (PGDs)
Disk | z | Rmax [kpc] | Log Mh | c | lb | Torb [Gyr] | Tvir [Gyr] | sv [km/s] | #Fila-ments
UM287 | 2.28 | 65 | 13.0 | 3.2 | 0.14 | 0.9 | 2.8 | 53 | 1+
Q1549 | 2.84 | 110 | 12.6 | 3.1 | 0.30 | 2.0 | 1.6 | 44 | 2+
Q1009 | 2.65 | 45 | 12.7 | 1.7 | 0.24 | 0.8 | 2.4 | 54 | 1
Q1700 | 2.74 | 65 | 12.3 | 1.1 | 0.39 | 2.1 | 1.5 | 52 | 2?

## Slide 20: PCWI Pilot Survey Donal O’Sullivan, Matt Matuszewski, Prachi Parahar, CM CM

## Slide 21: Protogalactic Disk Candidates Mean shear <L> vs. Area & Axis Ratio

## Slide 22: 4. KCWI: Flexible & Powerful 2D Spectroscopy
Slicer | Field of View | Spatial Resolution | Spectral Resolution
Small | 20” x 8” | 0.6” x 0.35” | 0.23 Å (R 20,000)
Medium | 20” x 16” | 0.6” x 0.7” | 0.45 Å (R 10,000)
Large | 20” x 32” | 0.6” x 1.4” | 0.90 Å (R 5,000)
Continuum
Hβ
DSS Stephan’s Quintet
24 Slitlet spectra
λ
Strengths
Blue coverage (3500-6000Å)
Red coverage (5600-10500Å)
Precision Sky Subtraction
Flexible observing modes
High Resolution (R~20,000)
3 selectable image slicers!

## Slide 23: Keck Cosmic Web Imager Team
Connie
Rockosi
Drew
Phillips
Harland
Epps
Sean Adkins
Matt Matuszewski
Alex Delacroix
Bob Weber
Jason
Fucik
Steve
Kaye
Randy
Bartos
Patrick
Morrissey
Anna
Moore
Don
Neill
CM
Daphne
Jason Weiss
Steve Kaye
Hector
Rodreguez
Shawn
Callahan
Kirk
Seaman
Donal O’Sullivan
Prachi Parihar
Marty Crabill
Ray Zarzaca

## Slide 24: KCWI Broad Bandpass

## Slide 25: KCWI-B 1st Light: M3 Core Abundances, Stellar Pops, Kinematics, IMBH
20”
2 x 10 minutes exposures with BH2 and Small Slicer 
Highest Spatial and Spectral Resolution

## Slide 26: Jupiter – Exoplanet Analog
KCWI Focal plane camera mosaic
Medium slicer
BM grating at:
  3900Å
  4500Å
  5100Å
R ≈ 5000 (1Å)
~1 s exposures (twilight)
KCWI IFU mosaic (3x2)
Rotation
+12.6 km/s
-12.6 km/s
I.dePater + KCWI team +
North Equatorial Belt (NEB)
Equatorial zone (EqZ)
South Equatorial Belt (SEB)
Notes: Tiling

## Slide 27: Guitar Nebula Analyzing Physics of Pulsar Wind Nebulae – 30 km/s slices
KCWI Data
Kulkarni, Kyne+
KCRM: Ha, [NII], [SII]

## Slide 28
M51
M51 – Whirlpool Galaxy
GALEX – UV
Spitzer – Infrared
KCWI – High Velocity [OIII] Emission
Traces shocks from stellar feedback
SFA
SFR
M*
GALEX – UV – Tracing OB stars
Spitzer – Infrared – Tracing gas/dust
TIME
STAR FORMATION (DUST OBSCURED)
DUST DISRUPTED
BY MASSIVE STARS
KCWI-traced high velocity gas shocks (red) are produced by supernova from massive stars (blue) and disrupt gas to shut down star formation.
M51 High Velocity Shock Feedback
Explaining Star Formation Feedback
Hamden, Darvish, Martin+2018
KCRM: Ha, [NII], [SII]
2.5 KPC

## Slide 29: Dark Matter Project: Ultra Diffuse Galaxies Stellar Pops, Abundances, Kinematics, Dark Matter
KCWI
R band
KCWI Intensity Scale -- electrons (1000 = 24.8 mag/arcsec2)
Van Dokkum
Martin
Matuszewski
Abraham+17
KCRM: CaT, CaH2, TiO, NaI, KI, FeH (Wing-Ford)
Medium Slicer
BM grating

## Slide 30: Quadruple Lensed Quasar Young Galaxy Maps, IGM Maps
Small slicer
BL Grating
R ≈ 5000 (1Å)
3500 to 5500 Å
600s (twilight)
8’’
20’’
K.Rubin + KCWI team +

## Slide 31: 5. KCWI CQM Observations Starting Fall 2017
Kinematic/Disk/Rotating Structure Properties
  Are they really disks!!?? (vs. discrete blobs, superpositions, outflows, etc…)
  Radial/Inspiral flow?
  Circular velocity
  Size, Dark Matter Halo mass, baryonic mass
  Morphology, Clumpiness, Radiative transfer
  Metal lines
Filament properties
  Number, length, size, mass/length, dominant filament,
Halo and Environmental Properties
  Halo mass, concentration, radius
Black Hole/AGN vs. Halo Properties
  Halo mass vs. AGN luminosity [BH mass]

## Slide 32: QSO 1002
PCWI 1 hr
KCWI 1 hr
KCRM: Lya CGM/CQM 4<z<7

## Slide 33: Q1002 KCWI Channel Maps Show Rotating Structures
15”
540<v<675 km/s
675<v<810 km/s
810<v<945 km/s
945<v<1080 km/s
1080<v<1215 km/s
1215<v<1380 km/s

## Slide 34: Q1002 2 Disks One Centered on QSO
KCWI Data
Intensity (data)
Intensity (model)
Velocity (data)
Velocity (model)
Disk (model)
Radial (model)
ROTATION ONLY
Xi2~100

## Slide 35: Q1002 Evidence for Radial Inflow?
KCWI Data
Intensity (data)
Intensity (model)
Velocity (data)
Velocity (model)
Disk (model)
Radial (model)
ROTATION+
LINEAR ZONAL
RADIAL
Xi2~50

## Slide 36: Cold Flow Inspiral
Dekel 2016
Surface Density/Flow
Azimuthal Velocity
Radial Velocity

## Slide 37: Multi-Filament Inflow (MFI) How Forming Galaxies Get Raw Food

## Slide 38: Multi-Filament Inflow (MFI): Model 3c(i)
Azimuthal Flow (Faceon)
As Observed

## Slide 39: Multi-Filament Inflow (MFI): Model 3c(i)
Radial Flow: Simulation
Radial Flow: MFI Model
INFLOW
OUTFLOW

## Slide 40: Multi-Filament Inflow (MFI): Model 3c(i)
Radial Flow: As Observed
Radial Flow: MFI Model

## Slide 41: UM287/Slug Radial Flow Direction = Direction of Extended Filament
N(H)
v(model)
Radial Mass Flux
Radial velocity

## Slide 42: KCWI CQM Imaging HS1549 – Multi-Filament Inflow Model
Data
Model 1
Model 3b(ii)
Model 4
AIC
821
504
432
N(H) [Faceon]
dM/dt
v(radial)

## Slide 43: KCWI Multi Filament Inflow Protogalaxies >4 discovered to date
QSO1009
QSO0221
UM287
QSO1549
DATA
DATA
DATA
DISK
DISK
DISK
DISK
DATA
MFI
MFI
MFI
MFI

## Slide 44: 6. KCWI Red Channel Keck Cosmic Reionization Mapper (KCRM)
Now Fully Funded
in Preliminary Design
Commissioning 2020

## Slide 45: Reionization Epoch Observations vs. Models
Furlanetto & Mesinger 07
Topology
1-QHII=0.74
1-QHII=0.53
1-QHII=0.18
Robertson+13

## Slide 46: Reionization Epoch KCRM Observables
Local
QSO
Local
QSO
Ionization
Front
QSO Ionization Front Emission
d
Galaxy Ionization
Front Emission
10 cMpc
d
Lya Emitter Clustering
SF Galaxy
High d gas Lya Fluorescence
SF Galaxy
Lya Emitter Luminosity
Lya Emitter Line Profile (Bubble radius)
Lya Emitter Redshift compared to Ha z
Gunn-Peterson Gaps
SF Galaxy
Galaxy Halo (Residual HI)
Lensed Versions of
All of These!
Background QSO Lya forest
Background
QSO

## Slide 47: 7. XCWI eXplorer Cosmic Web Imager Revealing the Cosmic Cycle of Baryons Imaging Spectroscopy and Narrow-band Imaging in the Far and Near UV Lya 0.01<z<1.3 Caltech, JPL (Nikzad), LAM (Milliard), U. Arizona (Hamden), Columbia+ (Schiminovich)++
Instrument
1 meter telescope, Integral Field Spectrograph (1200-2600Å), Photon-counting UV CCD
Science Goals
Decode the star formation laws at low and high redshift
Decode Lyman a emission at low and high redshift
Discover & map Circum-galactic medium to explore IGM-galaxy co-evolution
Explore the extended, low surface brightness UV Universe

## Slide 48: Summary
We are beginning to image the CGM
FIREBALL-2 will map Lya and CGM at z~0.7 and test new technology for space missions
PCWI results confirmed and deepened by KCWI
KCWI is working as expected and delivering superb data
Multi-Filament Inflow Models provide an excellent fit to KCWI observations of 4 Proto-Galactic Inspirals
KCRM (KCWI red channel to z[Lya]~8) is fully funded and under development
XCWI will perform low surface brightneds imaging spectroscopy over 1200Å<l<2800Å and map low redshift CGM and IGM
Thanks: FIREBALL=2 team (Milliard, Schiminovich, Hamden,+), CWI team, KCWI team (Morrissey, Matuszewski, Rizzi,+), KCRM and XCWI teams. Thanks to CLAW orginizers

## Slide 49
本日は、ご清聴
ありがとうございました