## Slide 1: K2K and T2K
2006/10/19
For the 2006 External Review Panel
Masato Shiozawa
Kamioka Observatory

## Slide 2
University of Barcelona, Boston University, Chonnam National University, Dongshin University, University of Geneva, Hiroshima University, ICRR, Inst. for Nuclear Research Moscow, KEK, Kobe University, Korea University, Kyoto University, Massachusetts Institute of Technology, Niigata University, Okayama University, University of Rome "La Sapienza“, Saclay (DSM-DAPNIA), Seoul National University, SUNY at Stony Brook, Tokyo University of Science, Tohoku University, University of California Irvine, University of Hawaii, University of Tokyo, University of Washington, University of Valencia, Warsaw University
35 institutes, 219 collaborators for latest K2K paper hep-ex/0606032

## Slide 3: Publications (only refereed journal)
1) Measurement of Neutrino Oscillation by the K2K Experiment. By K2K Collaboration accepted for publication in Phys.Rev.D. [hep-ex/0606032]
2) Measurement of the quasi-elastic axial vector mass in neutrino-oxygen interactions. By K2K Collaboration Phys.Rev.D74:052002,2006. [hep-ex/0603034]
3) An Improved search for nu(mu) ---> nu(e) oscillation in a long-baseline accelerator experiment. By K2K Collaboration Phys.Rev.Lett.96:181801,2006. [hep-ex/0603004]
4) Search for coherent charged pion production in neutrino-carbon interactions. By K2K Collaboration Phys.Rev.Lett.95:252301,2005. [hep-ex/0506008]
5) Evidence for muon neutrino oscillation in an accelerator-based experiment. By K2K Collaboration Phys.Rev.Lett.94:081802,2005. [hep-ex/0411038]
6) Measurement of single pi0 production in neutral current neutrino interactions with water by a 1.3-GeV wide band muon neutrino beam. By K2K Collaboration Phys.Lett.B619:255-262,2005. [hep-ex/0408134]
7) The K2K SciBar detector. By K. Nitta, et al., Nucl.Instrum.Meth.A535:147-151,2004. [hep-ex/0406023]
8) Search for electron neutrino appearance in a 250 km long baseline experiment. By K2K Collaboration Phys.Rev.Lett.93:051801,2004. [hep-ex/0402017]
9) Indications of neutrino oscillation in a 250 km long baseline experiment. By K2K Collaboration Phys.Rev.Lett.90:041801,2003. [hep-ex/0212007]
10) Near muon range detector for the K2K experiment: Construction and performance. By K2K MRD GROUP Nucl.Instrum.Meth.A482:244-253,2002, Erratum-ibid.A488:673,2002. [hep-ex/0107041]
11) Detection of accelerator produced neutrinos at a distance of 250-km. By K2K Collaboration Phys.Lett.B511:178-184,2001. [hep-ex/0103001]
12) Design, construction, and operation of SciFi tracking detector for K2K experiment. By K2K Collaboration Nucl.Instrum.Meth.A453:165-176,2000. [hep-ex/0004024]
oscillation 6
n interactions 3
detector 3

## Slide 4: K2K experiment overview
long baseline neutrino oscillation experiment using muon neutrino beam produced by 12GeV PS at KEK
Neutrino data have been accumulated successfully during Jan. 1999 to Nov. 2004 (completed).
nm disappearance phenomena was confirmed by accelerator-based neutrino beam at the first time; nm oscillation parameters (Dm2 and sin22q) consistent with the atmospheric neutrino oscillation parameters.
No ne appearance signal was observed, sin22qem<0.13 @ Dm2=2.8x10-3eV2

## Slide 5: K2K experiment overview (cont.)
ICRR hosts two detectors.
  Super-K (the far detector) at 250km.
  1KT (1,000ton Water Cherenkov) at 300m.
took the responsibility for construction, calibration, data reduction, analyses
n
1KT@300m
Super-K@250km

## Slide 6: K2K neutrino beam (in KEK)
En (GeV)
almost pure nm beam (~98%)
En ~ 1.3 GeV
Nn / cm2 / 0.1GeV / 1020 pot
nm energy spectrum
@ front detector site
x1010
12GeV PS
p
Aluminum target
Front detector
200m decay tunnel
p+  m+ + nm

## Slide 7: Near Detectors at 300m
1KT: water cherenkov detector
SciFi: scintillating fiber and water target
LG: Lead glass calorimeter (removed in 2002)
SciBar: full-active scintillator detector (installed in 2003)
MRD: muon ranger, iron absorbers and drift tubes
Muon Range Detector (MRD)
Lead Glass or
1KT
SciFi
LG/SciBar
MRD
nm
SK

## Slide 8: ND neutrino measurement
Absolute flux measurement
  1KT water Cherenkov data
Spectrum measurement
  1KT
    Fully contained 1 ring m-like sample
  SciFi
    1track, 2track QE and 2track nonQE sample
  SciBar
    1track, 2track QE and 2-track nonQE sample

## Slide 9: KT data (and other near detectors)

## Slide 10
Z
X
Y
Observed n events in KT
Z
X
Y
Black: Data
Red : MC
n
Very good agreement btw data and MC.
KT
Fiducial volume

## Slide 11
Spectrum fit at near detector
Pm
cosqm
Fully Contained single-ring m ( CCQE:60%)
(pm, qm) for 1ring m-like sample (1KT), 1track, 2track QE
and 2track nonQE sample (SciFi, SciBar)
F(En), nonQE/QE ratio are obtained
m
n
p

## Slide 12
Pm distributions in each detector
Data
MC after fitting
CC QE
Best fit MC reproduces all data well.

## Slide 13
Good agreement in angular distributions as well.
1KT covers whole 4p direction.
m directions at near detectors

## Slide 14: Super-K data (and neutrino oscillation study)

## Slide 15
Event selection @ SK
Selection criteria
|DT|<500msec, no pre-activity
(Decay-e cut)
Total q within 300n sec
>200(K2K-I), 94(K2K-II) (~20MeV)
No OD activity (FC), Evis>30MeV,
Fiducial volume(Dwall>2m)
|DT|=-0.2 ~ +1.3msec
# of events
578k
53k
115
112
TOF (0.83m sec) cut using GPS
112 on-timing fully contained events
in fiducial volume are observed.

## Slide 16
SK event summary
92.2×1018POT
 | SK events
FC | 112
1ring | 67
1ring m | 58
1ring e | 9
multi ring | 45
112 FC events are observed
158.1 +9.2 / - 8.6 events are expected (no osc.).
Number
Spectrum

## Slide 17: nm disappearance analysis
Number of FC events
Obs.
Expected.
112
158.1 (null osc.)
Reconstructed En spectrum
(Dm2,sin22q)
=(2.8x10-3,1.0)
null osc.
1ring m data
Data-best fit (2.8x10-3,1.0)
Data-null osc.
KS test probability for spectrum shape
37%
0.07%
Null oscillation probability
Norm.
Shape
Shape+Norm.
K2K
0.06% (3.4s)
0.42% (2.9s)
0.0015% (4.3s)
+9.2
- 8.6

## Slide 18: nm disappearance allowed region
Best fit : (Dm2,sin22q)
(2.55x10-3, 1.19) (all region)
(2.75x10-3, 1.0) (physical)
Dlikelihood @ sin22q=1.0
Dlikelihood @ Dm2=2.8x10-3
K2K confirmed neutrino oscillations discovered by atm n.

## Slide 19: Event selection for ne appearance search
―K2K-1― | nm MC | beam ne | Data
FCFV | 81.1 | 0.81 | 55
Single ring | 50.92 | 0.47 | 33
Tight e-like cut | 2.66 | 0.40 | 3
Evis > 100 MeV | 2.47 | 0.40 | 2
No decay-e | 1.90 | 0.35 | 1
Pi0 cut | 0.58 | 0.17 | 0
―K2K-2― | nm MC | beam ne | Data
FCFV | 77.4 | 0.86 | 57
Single ring | 49.41 | 0.52 | 34
Tight e-like cut | 3.21 | 0.44 | 5
Evis > 100 MeV | 2.93 | 0.44 | 5
No decay-e | 2.17 | 0.39 | 4
Pi0 cut | 0.74 | 0.21 | 1
In total,
#expected BG = 1.70
#observed = 1
ne signal
nm BG
Invariant mass using additional 2nd ring (MeV/c2)
1st ring momentum (MeV/c)
Pi0 cut
select
select

## Slide 20: Exclude region for ne appearance search
limit
sensitivity
upper limit (90% CL)
sin22qme<0.13 @2.8x10-3 eV2
K2K
sin2q13<~0.06@2.8x10-3eV2
(assuming sin22q23=1.0)
CHOOZ(reactor)
sin2q13<~0.03@2.8x10-3eV2
Consistent result

## Slide 21: Cross section measurements in KT

## Slide 22: Measurement of single p0 production in neutral current neutrino interactions
data
MC
non-p0 BG
p0 events
  single-event spill
  Fully-Contained
  number of rings = 2
  both e-like PID
  Mgg : 85 ~ 215 MeV/c2
Large NC fraction of 87%

## Slide 23: Results
s(NC1p0) / s(nmCC) = 0.064 ± 0.001 ± 0.007
cf. s(NC1p0) / s(nmCC) = 0.065 from NEUT
cf. s(nmCC) ~ 1.1 x 10-38 cm2 / nucleon from NEUT
(K2K beam spectrum averaged)
stat. sys.
<En> ~ 1.3 GeV
at the K2K beam energy, <En>~1.3 GeV
Phys.Lett.B619:255-262,2005.

## Slide 24: Study of atmospheric neutrino background for proton decay search
K2K neutrino energy well matches proton decay pe+p0 BG
KT data statistics ~ 10Megatonyears (Super-K ~400years)
2- or 3-ring mp0 events in KT
CC single pi0
CC single pi0
(Draft in preparation)

## Slide 25: Summary of K2K
first detection of accelerator produced neutrinos at 250km distance.
nm disappearance phenomena was confirmed by controlled neutrino beam, at known distance.
gives data for neutrino interaction studies.
There are still unknown mixing angle q13. Precise determination of (sin22q23, Dm2) may help us to understand unknown underlying physics.
Next generation long baseline experiment, T2K

## Slide 26: Future experiment, T2K

## Slide 27: T2K experiment overview
commissioning of the JPARC neutrino beam-line is expected to be in 2009.
~50 times intense neutrino beam compared with K2K.
physics sensitivities are maximized by using quasi-monochromatic neutrino beam (beam pointing to off-axis angle)
aim to precisely measure nm oscillation parameters (Dm2 and sin22q) with the accuracy of ~1% level.
aim to discover nonzero q13 down to sin22q13=~0.01 by ne appearance signal.

## Slide 28
51021 POT MC
# of events
in 0.35~0.85 [GeV] Signal … 103
Beam ne BG … 13
BG from nm … 10
oscillation study:
nm disappearance and ne appearance
Single-ring electron (w/ p0 cut)
Ratio of Enrec
[with oscillation]
[no oscillation]
Single-ring m
(sin22q23,Dm223)
=(1.0, 2.7 x 10-3 eV2)
(sin22q13,d,Dm223)
=(0.1., 0, 2.5 x 10-3 eV2)
5x1021 POT
5x1021 POT

## Slide 29: Super-K should be well prepared for T2K beam
ICRR hosts the far detector, Super-K at 300km.
All front-end electronics will be replaced by newly developed ones in 2008.
  The ASIC front-end chip development is ongoing
  n observation with good stability and accuracy
Further detector calibration
  study ring-ID capability for p0 BG rejection in electron appearance
  improve absolute energy scale uncertainty < 1%
  light scattering and absorption in water, reflection on detector wall, TQ response of PMTs are also indispensable.
software upgrade
  improvements of reconstruction algorithms
  Cherenkov ring finding, vertex fitter, energy determination…

## Slide 30: New front-end ASIC (QTC)
3 channel input
High-speed
  500nsec per one cycle
Build-in discriminator
Wider dynamic range
  ~ 1250 p.e. by 3 gain
  (c.f. ~250p.e. w/current FE)
Charge resolution
  0.1pC ~ 0.05p.e.
Timing resolution
  < 0.1nsec (RMS)
3gain x 3ch
charge
timing
Implement all delicate analog processes in one chip
 aim to achieve noise free, accurate response of electronics
Lower Noise
  No noise hit @ - 0.5mV(~1/6 p.e.)
power dissipation
  < 200 mW/ch
Process
  0.35mm CMOS
threshold : 1/3pC-0.5mV
1p.e. ~ 2pC
30usec

## Slide 31: Cone light Generator (Prototype)
Q12
a
w
Laser ball enclosed in delrin vessel.
Adjustable:
  cone angle (a), width (w) & opening angle (Q12)
To study p0 ring finding efficiency
Data taking successful at 1KT
Corresponds to 500MeV/c p0 Q12=50°

## Slide 32: Summary of T2K
ICRR will take the responsibility for the far detector (operation, calibration, data analyses)
aim to measure nm oscillation parameter with ~1% accuracy.
aim to discover unknown q13 down to sin22q13~0.01.
Thank you very much.