## Slide 1
“Scientific Activities of ICRR”
--- Observation of Ultra-high Energy Cosmic Rays ---
The Status of Telescope Array
Oct. 19th, 2006 @ Kashiwa, Japan
M.Fukushima

## Slide 2
Telescope Array (TA)
Originally planned as a large array of fluorescence telescopes
to identify the origin of super-GZK (E > 1020eV) cosmic rays
(ICRR review in 2000).
HiRes monocular spectrum suggested existence of GZK cutoff
(27th ICRC @ Hamburg in 2001).
Physics? Method? Statistics?
Critical look at systematics of SD (AGASA) and FD (HiRes)
measurements became imperative.
Phase-1 TA financed in 2003 as SD / FD hybrid detector.

## Slide 3
Mechanism of GZK Cutoff
2.725 K
411 ph / cm3
0.6 x 10-27 cm2
γ
p
n
p
π
＋
μ
＋
ν
e
＋
ν
γ
E = 10 20 eV
E 0.8 x 10 20 eV
~
The super-GZK Cosmic Rays must call for a New Physics.

## Slide 4
Energy Spectra by AGASA and HiRes (mono)
AGASA
HiRes
Ground Array (plastic scintillator)
Fluorescence Telescope

## Slide 5
AGASA: stopped in Jan, 2004
Auger: 1st result in Aug. 2005
HiRes: stopped in Apr. 2006
TA: will start DAQ in April 2007
Auger-South: will be completed in 2007

## Slide 6
SHINOZAKI
@WeiHai, 2006
AGASA

## Slide 7
Monocular Spectra
New “fully efficient” stereo
Spectrum - no cloud cuts
Most recent Mono spectrum
(with cloud cuts)
SOKOLSKY
@WeiHai, 2006
HiRes

## Slide 8
ZAVRTANIK
@WeiHai, 2006
AUGER

## Slide 9
ZAVRTANIK
@WeiHai, 2006
AUGER

## Slide 10
No conclusion reached on GZK.
Energy Scale is in question.
But it may not be the only cause
of Discrepancies.
Even after energy rescaling, # of events
with E > 1020 eV differs among experiments.

## Slide 11
AGASA: stopped in Jan, 2004
Auger: 1st result in Aug. 2005
HiRes: stopped in Apr. 2006
ph-1 TA: will start DAQ in April 2007
Auger-South: will be completed in 2007

## Slide 12
3 x Fluorescence Stations
AGASA x 4
576 Counters
AGASA x 9
Low Energy Extension
TALE
Phase-1 TA
Comm. Tower
CLF
Millard County in Utah / USA

## Slide 13
Plastic Scintillator
3 m2, 12 mm t
WLSF readout, 2 layers overlaid
1 MIP photo-electron distribution
24 pe

## Slide 14
50 MHz, 12 bit FADC
GPS time stamp (~20ns)
Wireless LAN modem
Solar panel + charge controller
Battery
Slow control

## Slide 15
Upper layer
Spectrum and Rate for Cosmic Muon
628 Hz at 1/3μ
42 Hz at 3μ
~ 1000 Hz. Triggered by lower layer at 1/3μ level
Wave form recorded
locally at each counter
Timing sent to
comm. tower for
Coincidence Trigger
muon
spectrum
trigger
Integrated over 12 time bins (240ns)

## Slide 16
Why Plastic Scintillator ?
Conserve AGASA energy scale and check
Sample electromagnetic shower (~90% of Eprimary)
>>> less dependent on
    primary composition
    hadronic interaction @EHE
Why Two Layers ?
trigger and calibration by muon
wider dynamic range (PMT Gain H/L)
linear upto 60 / 360 MIPs in 20 ns
S(600) for 3 x 1020eV
may vary over GZK energy

## Slide 17

e

36o
25o
45o
53o
60o
0o
66o
Proton/SIBYLL
Proton/QGSJET
Iron/SIBYLL
Iron/QGSJET
ARISAKA
GAP 2004-037
AUGER
Particle density at 540m from shower core vs X - Xmax
ZENITH ANGLE

## Slide 18
# of particles in upper scintillator
# of particles in lower scintillator
Expected Signals from e, γ, μ
by GEANT for 1016eV proton shower
@ 600 g/cm2 and 1 km away from core
2.0 mm t Al
1.2 mm t Fe
1.2 mm t Fe
1.0 mm t Fe
10 mm t Scint.

## Slide 19
● 合計５１６台を、２００７年２月までに設置の予定
○ 80% of SDs & 3 towers on federal land.
○ Took 2.5 years for getting permission from BLM office.
Surveys of endangered animals and plants, cultural resources
and historical sites, and numerous other administrative works
done by U of Utah colleagues.
○ First comm. tower built on Sept.15th + 16th
○ First 50 counters will be deployed today (Sept 19).
○ 516 counters will be in the field by next February.

## Slide 20
SDs waiting for Deployment near Delta Cosmic Ray Center

## Slide 21
From Delta to staging area (~30km)
18 SDs at the staging area
18 SDs deployed in 3 hours
TEST DEPLOYMENT in Dec. 2004

## Slide 22
FLUORESCENCE ELESCOPE
Fixed telescope with spherical mirror
One telescope with 180 x 150 FoV
seen by mosaic PMT camera
6 x 2 telescopes / station
Field of View 30-330 for elevation
1080 for azimuth

## Slide 23
TELESCOPE CAMERA
16 x 16 PMT array
BG3 glass filter (UV transparent)
Pre-amplifier (x 50)
1. 3 PMTs: absolutely calibrated
by standard UV light source (self develop.)
& PMT gain monitored by YAP + 241Am.
2. All 256 PMTs: relatively adjusted in situ
by diffused light ( Xenon flasher )
3. XY-mapping by UV-LED scanner

## Slide 24
FADC
Track Trig.
HV PS
LV
PC
TELESCOPE ELECTRONICS
1 camera

## Slide 25
One of the first events of TA: 2005/07/12, 2:52 am, Utah.
200 ns / step.
top / bottom & left / right of camera view reversed.

## Slide 26
Spherical Mirror (3.3m f）, 10 pixel PMT
Conserve HiRes optics (30% more light than HiRes)
Simple in Optics & Mechanics
“Sandwich” configuration for stereo meas..
    less than 20 km to the nearest FD station
    always tagged by the SD
-HV, DC coupled, 40MHz,12-bit sampling
No wave form distortion
Direct night sky BG measurement
“FD as a lidar”
~ms baseline update
5 contiguous PMTs for “track” trigger

## Slide 27
1st FD station: 8 / 12 telescopes completed
2nd station: to be ready by March, 2007
3rd station: transfer of HiRes. Ready by June, 2007.

## Slide 28
DE # of photons
1. Fluores. Eff.
3. Telescope Calib.
2. Atmospheric Corr.
loss of photons
# of ptotons ADC ch
FD is a Total Absorption Calorimetry for absolute energy measurement
Air Fluorescence Spectrum

## Slide 29
Piece to Piece Calibration is needed.
We also have Xe flasher, YAP and LED
but….
Energy Deposit ＝
Fluorescence Efficiency
ｘ Rayleigh and Mie Scattering Loss
ｘ Obscuration （by camera and supporting structures）
ｘ Mirror Area and Reflectivity
ｘ Transparency of Camera Window （UV transp. lucite）
ｘ Transmittance of BG3 Filter （against Night Sky bg）
ｘ PMT Gap
ｘ PMT Quantum Efficiency
ｘ PMT (dinode) Collection Efficiency
ｘ PMT Gain
ｘ Preamplifier Gain
ｘ Cable Attenuation
ｘ Shaper/Amplifier Gain
ｘ FADC Conversion Gain
ｘ FADC Count
1.
2.
3.
4.
5.
6.
7.
8.
9.
10.
11.
12.
13.
14.
15.
Energy Deposit FADC count
５％? ｘ ＳＱＲＴ（１５） ～ ２０％ ???
Direct End to End Calibration is wanted.

## Slide 30
Inject Electron Linac Beam （10 - 40 MeV） into the Sky
20 MeV / particle x 109 ppp = 2 x 1016 eV total energy deposit.
Absolutely calibrated Light Source!!
20 MeV
40 MeV
100 m away
100 m away
Telescope FoV
PMT pixel
From Energy deposit to ADC ch.

## Slide 31: TA-Linac for calibration
Assembly of TA Linac proceeding using KEK B factory injector
components. Beam test at KEK in March, 2007.

## Slide 32
MEADE telescope
on alto-azimuth mount.
YAG laser (355 nm, 5mJ)
Lidar for Atomospheric Monitoring

## Slide 33: Lidar Observation at the BRM station
LOG (photons・R2)
Distance R (m)

## Slide 34
Performance of TA
140 km2 sr
25 %
18 %
20
AGASA
or better
or better
FD

## Slide 35
# of Events per Year
SPECTRUM
Calibration
X -check

## Slide 36
Cumulated # of Events

## Slide 37
Log（エネルギー［eV］）
Log ( 流量 x E3)
Expected by
GZK cutoff
Result of TA by spring 2010
AGASA flux
AGASA Energy x 1 or x 0.8
TA = SD (516 ctrs) + FD mono

## Slide 38
SHINOZAKI
@WeiHai, 2006
AGASA

## Slide 39
SUMMARY
Phase-1 TA approved in 2003: 10 x AGASA + FD
NSF budget approved in 2006: infra + FD + TALE
TALE: low energy extension of TA
Start data taking with 516 SDs & 3 FDs next spring.
516 SDs = 90% of proposal, 3rd FD by HiRes transfer
Confirm super-GZK and cluster in the North by 2010.
Understand SD systematics.
Establish stereo FD method and energy calibration.
Future: Integrated Giant Ground Detector (> 100 AGASA)

## Slide 40
Telescope Array Collaboration
H.Kawai a, T.Nunomura a, N.Sakurai a, S.Yoshida a,
H.Yoshii b, K.Tanaka c, F.Cohen d, M.Fukushima d, N.Hayashida d, M.Ohnishi d, H.Ohoka d,
S.Ozawa d, H.Sagawa d, T.Shibata d, H.Shimodaira d, M.Takeda d, A.Taketa d, M.Takita d,
H.Tokuno d, R.Torii d, S.Udo d, H.Fujii e, T.Matsuda e, M.Tanaka e, H.Yamaoka e, K.Hibino f,
T.Benno g, M.Chikawa g, T.Nakamura h, K.Kadota j, Y.Uchihori k, Y.Hayashi l, S.Kawakami l,
K.Matsumoto l, Y.Matsumoto l, T.Matsuyama l, S.Ogio l, A.Ohshima l, T.Okuda l,
D.R.Bergman m, G.Hughes m, S.Stratton m, G.B.Thomson m, N.Inoue n, Y.Wada n,
K.Kasahara o, M.Fukuda p, T.Iguchi p, F.Kakimoto p, R.Minagawa p, Y.Tameda p,
Y.Tsunesada p, J.W.Belz qs, J.A.J.Matthews r, T.Abu-Zayyad s, R.Cady s, Z.Cao s,
C.C.H.Jui s, K.Martens s, J.N.Matthews s, J.D.Smith s, P.Sokolsky s, R.W.Springer s,
S.B.Thomas s, L.R.Wiencke s, T.Doyle t, M.J.Taylor t, V.B.Wickwar t, T.D.Wilkerson t,
K.Hashimoto u, K.Honda u, T.Ishii u, T.Kanbe u,S.J.Baek v, J.E.Kim v, K.S.Kim v, S.Nam v,
I.H.Park v, J.Yang v, B.G.Cheon w, Y.Unno w, Y.H.Yun w, I.S.Cho x, Y.J.Kwon x
(a) Chiba University (b) Ehime University (c) Hiroshima City University
(d) ICRR, University of Tokyo, (e) Institute of Particle and Nuclear Studies, KEK
(f) Kanagawa University (g) Kinki University (h) Kochi University (j) Musashi Institute of Technology
(k) National Institute of Radiological Sciences (l) Osaka City University (m) Rutgers University
(n) Saitama University (o) Shibaura Institute of Technology (p) Tokyo Institute of Technology
(q) University of Montana (r) University of New Mexico (s) University of Utah
(t) Utah State University (u) Yamanashi University (v) Ewha Womans University
(w) Chonnam University (x) Yonsei University
80 physicists
From Japan, USA and Korea